## Slide 1
4 October 2018
By : Firas AL Assadi / AL Mansour University College
<number>
Al Mansour University College
Computer Technologies Engineering Department
Second Class
Year 2018 - 2019
Instruments and Measurements Lectures
by :
Firas Al Assadi

## Slide 2: Moving-iron meter
4 October 2018
<number>
By : Firas AL Assadi / AL Mansour University College

## Slide 3
The moving-iron meter can measure a.c. signals at frequencies up to 125 Hz. It is the cheapest form of meter available and, consequently, this type of meter is also commonly used for measuring voltage signals. The signal to be measured is applied to a stationary coil,
4 October 2018
<number>
By : Firas AL Assadi / AL Mansour University College

## Slide 4
the associated field produced is often amplified by the presence of an iron structure associated with the fixed coil. The moving element in the instrument consists of an iron vane that is suspended within the field of the fixed coil. When the fixed coil is excited, the iron vane turns in a direction that increases the flux through it.
4 October 2018
<number>
By : Firas AL Assadi / AL Mansour University College

## Slide 5
4 October 2018
<number>
By : Firas AL Assadi / AL Mansour University College

## Slide 6
4 October 2018
<number>
By : Firas AL Assadi / AL Mansour University College

## Slide 7
Advantages of moving iron instruments
These are used for both AC and DC measurements.
Low cost compared to moving iron instruments.
Torque to weight ratio is high
4 October 2018
<number>
By : Firas AL Assadi / AL Mansour University College

## Slide 8: Electrostatic meter
4 October 2018
<number>
By : Firas AL Assadi / AL Mansour University College

## Slide 9
Electrostatic Voltmeters operating on the electrostatic principle use the mutual repulsion between two charged plates to deflect a pointer attached to a spring. These types of instruments are used for high voltage AC measurements as well as DC.
4 October 2018
<number>
By : Firas AL Assadi / AL Mansour University College

## Slide 10
4 October 2018
<number>
By : Firas AL Assadi / AL Mansour University College

## Slide 11
Advantages of Electrostatic instruments
These only draw the currents at DC is leakage current and current required to charge the capacitive elements
High sensitivity
Capable of measuring smallest charge voltages
High range of voltage measurement possibility nearly 200KV
4 October 2018
<number>
By : Firas AL Assadi / AL Mansour University College