## Slide 1
4 October 2018
By : Firas AL Assadi / AL Mansour University College
<number>
Al Mansour University College
Computer Technologies Engineering Department
Second Class
Year 2018 - 2019
Instruments and Measurements Lectures
by :
Firas Al Assadi

## Slide 2
Using a Multimeter
4 October 2018
<number>
By : Firas AL Assadi / AL Mansour University College

## Slide 3: What is a multimeter?
A multimeter is a devise used to measure voltage, resistance and current in electronics & electrical equipment
It is also used to test continuity between to 2 points to verify if there is any breaks in circuit or line
There are two types of multimeter Analog & Digital
  Analog has a needle style gauge
  Digital has a LCD display (Referenced during this PPT)
4 October 2018
<number>
By : Firas AL Assadi / AL Mansour University College

## Slide 4
Switched
Manually switch between ranges to get most accurate reading.
Auto Range Switches between ranges automatically for best reading.
There are 2 styles of multimeters
Both of these styles work the same
4 October 2018
<number>
By : Firas AL Assadi / AL Mansour University College

## Slide 5
Meter leads
Red meter lead Is connected to Voltage/Resistance or amperage port Is considered the positive connection
Black meter lead Is always connected to the common port Is considered the negative connection
Probes Are the handles used to hold tip on the tested connection
Tips Are at the end of the probe and provides a connection point
4 October 2018
<number>
By : Firas AL Assadi / AL Mansour University College

## Slide 6: Display & Dial Settings
Meter Dial Turn dial to change functions. Turn dial to OFF position after use.
Panel Indicator Shows each function and setting range to turn dial to.
Probe Connections Specific for each function.
Digital Display Shows measured value.
4 October 2018
<number>
By : Firas AL Assadi / AL Mansour University College

## Slide 7: Common DMM Symbols
~ AC Voltage Ground
--- DC Voltage ( Capacitor
Hz Hertz F MicroFarad
+ Positive  Micro
Negative m Milli
 Ohms M Mega
 Diode K Kilo
))) Audible Continuity OL Overload
These symbols are often found on multimeter and schematics.
They are designed to symbolize components and reference values.
4 October 2018
<number>
By : Firas AL Assadi / AL Mansour University College

## Slide 8: Measuring Voltage
Voltage (V) is the unit of electrical pressure; one volt is the potential difference needed to cause one amp of current to pass through one ohm of resistance
Voltage is broke up into 2 sections AC & DC
Alternating Current (AC) is house voltage (110vac)
Direct Current (DC) is battery voltage (12vdc)
On switched meters use one value higher than your expected value
Be very careful to not touch any other electronic components within the equipment and do not touch the tips to each other while connected to anything else
To measure voltage connect the leads in parallel between the two points where the measurement is to be made. The multimeter provides a parallel pathway so it needs to be of a high resistance to allow as little current flow through it as possible
4 October 2018
<number>
By : Firas AL Assadi / AL Mansour University College

## Slide 9: Measuring Voltage
4 October 2018
<number>
By : Firas AL Assadi / AL Mansour University College

## Slide 10
Measuring Voltage
9.3vdc
4 October 2018
<number>
By : Firas AL Assadi / AL Mansour University College

## Slide 11: Measuring Resistance and Continuity
Resistance () is the opposition to current
Resistance is measured in Ohm's
Disconnect power source before testing
Remove component or part from system before testing
Measure using lowest value, if OL move to next level
Testing for continuity is used to test to verify if a circuit, wire or fuse is complete with no open
Audible continuity allows an alarm if circuit is complete
If there is no audible alarm resistance of 1ohm to .1ohm should be present
4 October 2018
<number>
By : Firas AL Assadi / AL Mansour University College

## Slide 12: Measuring Resistance
4 October 2018
<number>
By : Firas AL Assadi / AL Mansour University College

## Slide 13: Measuring or Testing Continuity
4 October 2018
<number>
By : Firas AL Assadi / AL Mansour University College

## Slide 14: Measuring Resistance
100
4 October 2018
<number>
By : Firas AL Assadi / AL Mansour University College

## Slide 15: Measuring Continuity
5 amp
Fuse
.5
4 October 2018
<number>
By : Firas AL Assadi / AL Mansour University College

## Slide 16
Current (amps) is the flow of electrical charge though a component or conductor
Current is measured in amps or amperes
Disconnect power source before testing
Disconnect completed circuit at end of circuit
Place multimeter in series with circuit
Reconnect power source and turn ON
Select highest current setting and work your way down.
Measuring Current
4 October 2018
<number>
By : Firas AL Assadi / AL Mansour University College

## Slide 17
Measuring Current
4 October 2018
<number>
By : Firas AL Assadi / AL Mansour University College

## Slide 18
Measuring Current
1.1amps
4 October 2018
<number>
By : Firas AL Assadi / AL Mansour University College

## Slide 19: Review
A meter capable of checking for voltage, current, and resistance is called a multimeter,
When measuring Voltage the multimeter must be connected to two points in a circuit in order to obtain a good reading. Be careful not to touch the bare probe tips together while measuring voltage, as this will create a short-circuit!
Never read Resistance or test for Continuity with a multimeter on a circuit that is energized.
When measuring Current the multimeter must be connected in a circuit so the electrons have to flow through the meter
Multimeters have practically no resistance between their leads. This is intended to allow electrons to flow through the meter with the least possible difficulty. If this were not the case, the meter would add extra resistance in the circuit, thereby affecting the current
4 October 2018
<number>
By : Firas AL Assadi / AL Mansour University College