## Slide 1
4 OCTOBER 2018
BY : FIRAS AL ASSADI / AL MANSOUR UNIVERSITY COLLEGE
<number>
Al Mansour University College
Computer Technologies Engineering Department
Second Class
Year 2018 - 2019
Instruments and Measurements Lectures
by :
Firas Al Assadi

## Slide 2
Classical Electromechanical Instrument
4 OCTOBER 2018
<number>
BY : FIRAS AL ASSADI / AL MANSOUR UNIVERSITY COLLEGE

## Slide 3: Deflection Instruments Fundamentals
They have a pointer deflects over its scale to indicate the quantity to be measured.
Three forces are operating inside the instrument. {Deflecting, Controlling, and Damping Forces}
4 OCTOBER 2018
<number>
BY : FIRAS AL ASSADI / AL MANSOUR UNIVERSITY COLLEGE

## Slide 4: Deflection Instruments Fundamentals
Examples
Permanent Magnet Moving Coil (PMMC) instruments, Electro-dynamic instruments, Moving iron instruments
4 OCTOBER 2018
<number>
BY : FIRAS AL ASSADI / AL MANSOUR UNIVERSITY COLLEGE

## Slide 5: Deflection Instruments Fundamentals
4 OCTOBER 2018
<number>
BY : FIRAS AL ASSADI / AL MANSOUR UNIVERSITY COLLEGE

## Slide 6: Deflection Instruments Fundamentals
Deflecting force deflects the pointer to a deflecting angle proportional to the input quantity to be measured.
Its direction is towards the full scale deflection angle.
Its magnitude is proportional to the input quantity to be measured.
4 OCTOBER 2018
<number>
BY : FIRAS AL ASSADI / AL MANSOUR UNIVERSITY COLLEGE

## Slide 7: Deflection Instruments Fundamentals
4 OCTOBER 2018
<number>
BY : FIRAS AL ASSADI / AL MANSOUR UNIVERSITY COLLEGE

## Slide 8: Deflection Instruments Fundamentals
Controlling force is generated due to two Spiral control springs in case of Jewel bearing suspension.
4 OCTOBER 2018
<number>
BY : FIRAS AL ASSADI / AL MANSOUR UNIVERSITY COLLEGE

## Slide 9: Deflection Instruments Fundamentals
Where as the taut band control force is generated in case of taut band suspension
4 OCTOBER 2018
<number>
BY : FIRAS AL ASSADI / AL MANSOUR UNIVERSITY COLLEGE

## Slide 10: Construction PMMC Instrument
-A permanent magnet with two soft-iron pole shoes
- A cylindrical soft-iron core is positioned between the shoes
4 OCTOBER 2018
<number>
BY : FIRAS AL ASSADI / AL MANSOUR UNIVERSITY COLLEGE

## Slide 11: Construction PMMC Instrument
One of the two controlling spiral springs is shown.
One end of this spring is fastened to the pivoted coil, and the other end is connected to an adjustable zero-position control.
4 OCTOBER 2018
<number>
BY : FIRAS AL ASSADI / AL MANSOUR UNIVERSITY COLLEGE

## Slide 12: Construction PMMC Instrument
- The current in the coil must flow in one direction to cause the pointer to move from the zero position over the scale.
4 OCTOBER 2018
<number>
BY : FIRAS AL ASSADI / AL MANSOUR UNIVERSITY COLLEGE

## Slide 13: Construction PMMC Instrument
- The terminals (+) and (–) indicate the correct polarity for connection, and the instrument is said to be polarized
4 OCTOBER 2018
<number>
BY : FIRAS AL ASSADI / AL MANSOUR UNIVERSITY COLLEGE

## Slide 14: Construction PMMC Instrument
- It cannot be used directly to measure alternating current Without rectifiers, it is purely a dc instrument
4 OCTOBER 2018
<number>
BY : FIRAS AL ASSADI / AL MANSOUR UNIVERSITY COLLEGE

## Slide 15: Permanent Magnet Moving Coil Instrument
The mirror is placed below the pointer to get the accurate reading by removing the parallax.
4 OCTOBER 2018
<number>
BY : FIRAS AL ASSADI / AL MANSOUR UNIVERSITY COLLEGE

## Slide 16: Advantages Of The PMMC Instruments
Linear scale .
Simple and cheap.
Can be constructed with very high sensitivity (specially if taut band suspension is used).
4 OCTOBER 2018
<number>
BY : FIRAS AL ASSADI / AL MANSOUR UNIVERSITY COLLEGE

## Slide 17: Disadvantages Of The PMMC Instruments
Polarized
External magnetic fields badly affect its operation. This can be avoided by using core magnet type PMMC construction****.
Not very sensitive (to have sensitive device the taut band suspension must be used: which is expensive).
4 OCTOBER 2018
<number>
BY : FIRAS AL ASSADI / AL MANSOUR UNIVERSITY COLLEGE